## Slide 1
Housing Finance Forum ―
Sustainable Housing in International Finance
June 2026
International Affairs Group
International Affairs and Research Department
Japan Housing Finance Agency

## Slide 2
1. Development of Housing Performance Standards in Japan
Introduction of Housing Performance Standard
The Housing Performance Standard in Japan refers to a set of regulations and guidelines designed to ensure the quality, safety, and sustainability of residential buildings
These standards were introduced to promote high-quality housing, improve residential safety, and address issues such as disaster resilience, energy efficiency, and environmental sustainability
1945 -1950s
1960s – 1990s
2000 - Present
After the WWII, Japan faced a severe housing shortage
Lack of standardized housing performance criteria hindered safety, durability, and comfort
Rapid economic growth and urbanization increased the demand for better housing
The Great Hanshin-Awaji Earthquake (1995) revealed vulnerabilities against earthquakes
Housing Quality Assurance Act (HQAA) was introduced to achieve higher-quality housing
HQAA established Housing Performance Indication System, a standardized framework for evaluating housing performance
The System was expanded to include existing homes in 2002

## Slide 3
1. Development of Housing Performance Standards in Japan
Effective since April 1, 2000
The aim of Housing Performance Indication System was to establish a housing market in which individuals can confidently purchase high-quality housing
Although the System is voluntary, many developers and builders participate to demonstrate the quality of their housing and gain a competitive advantage in the market
Source: The Association for Evaluating and Labeling Housing Performance
Structural stability
Safety during fire
Reduction of deterioration
Consideration of maintenance
Thermal environment
Air quality
Acoustic environment
Consideration for the elderlies
Light and visual environment
Security measures
10 key evaluation criteria of measuring housing performance

## Slide 4
1. Development of Housing Performance Standards in Japan
Third party evaluation
Housing performance is assessed by registered third-party evaluation organizations certified by the Ministry of Land, Infrastructure, Transport and Tourism (MLIT)
This ensures transparency and impartiality in the evaluation process
Source: The Association for Evaluating and Labeling Housing Performance
Housing Performance Evaluation Report
Homes that meet the standards are issued a Housing Performance Evaluation Report, which can be used during transactions such as sales or purchases to provide assurance to buyers
Benefit of receiving the Housing Performance Evaluation Report
Homeowners holding the Report are qualified to apply for dispute resolution through the Designated Housing Dispute Resolution Body, a local bar association
The Designated Housing Dispute Resolution Body will handle the case to achieve resolution
Homeowners holding the Report are eligible for discounts on earthquake insurance premiums
Seismic Isolation Building Discount |  | 50% discount applicable
Seismic Grade Discounts (Prevention of Structural Collapse) | Seismic Grade 3 | 50% discount applicable
 | Seismic Grade 2 | 30% discount applicable
 | Seismic Grade 1 | 10% discount applicable

## Slide 5
2. Green housing finance initiatives by JHF
Source: Ministry of Economy, Trade and Industry
00 million tons of CO2
Emission
Absorption
Net emission
Process to achieve max +1.5 degrees scenario under IPCC report
50% reduction from 2013
from 2013
target
net emission
target is
Japanese Government’s CO2 reduction scenario by 2050

## Slide 6
2. Green housing finance initiatives by JHF
Source: Ministry of Land, Infrastructure, Transportation and Tourism (MLIT)
MLIT GX initiatives to promote decarbonization in housing and buildings
Promoting energy efficiency and CO2 reduction in housing and buildings
・ Based on the Building Energy Efficiency Act (revised in June 2022), compliance with energy-saving standards will be made mandatory for all new residential and non-residential buildings starting in fiscal year 2025
・ In collaboration with relevant ministries, support will be provided for the promotion of Net Zero Energy House (ZEH) and Net Zero Energy Building (ZEB), as well as energy-efficient renovations
・ Efforts will be made to promote CO2 reduction throughout the entire lifecycle of buildings
Promoting the use of wood in housing and buildings
・ Measures will be implemented to rationalize building standards and provide support for high-quality medium- to large-scale wooden buildings
Before the Act revision |  | 
Floor size | Non-residential | Residential
> 2,000 m2 | Mandatory | Report
Mid size | Mandatory | Report
300 m2 > | Explanatory | Explanatory
After the Act revision |  | 
Floor size | Non-residential | Residential
> 2,000 m2 | Mandatory | Mandatory
Mid size | Mandatory | Mandatory
300 m2 > | Mandatory | Mandatory
Thermal insulation performance | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Grade 5 | Grade 6 | Grade 7
Primary energy consumption amount performance | Grade 1 | N/A | Grade 3 | Grade 4 | Grade 5 | Grade 6
Energy efficiency standard
JHF’s Flat 35 and JHF’s Green labeled Flat 35 Mortgage applicable after April 2025
Green labeled Flat 35

## Slide 7
2. Green housing finance initiatives by JHF
Fulfillment of the four core components under Green Bond Principal
1. Use of proceeds
Use of proceeds is stated in the
explanatory materials for investors
Use of proceeds falls into the
category of “energy efficiency” as
exemplified in GBP
2. Process for projection evaluation and selection
One of the goals of the “Basic Housing Plan” (Cabinet decision on March 19, 2021) is to “improve housing circulation systems toward a decarbonized society by construction and the formation of high-quality housing stock.” JHF, as a policy implementation agency, responds to the policy issues by providing a variety of financial services
The energy conservation standards for Flat 35, which is eligible for green bonds, are set pursuant to laws and regulations
3. Management of proceeds
The full amount of proceeds are promptly applied to the purchase of Flat 35
JHF annually confirm that the outstanding balance of green bonds is within the range of Flat 35 outstanding balances which are eligible for green bonds
4. Reporting
JHF carries out reporting on the allocation status of green bonds and impact reporting on environmental improvement effects to the extent practicable
Flat 35 S (ZEH) |  | Flat 35 S (Energy efficiency) | 
Flat 35 Renovation (Energy efficiency) |  | Flat 35 Renovation (Durability/modifiability) | 
Source: ICMA

## Slide 8
2. Green housing finance initiatives by JHF
Impact reporting on green bonds
Source: ICMA
Classification | Standard | CO2 emissions (Single detached houses) | CO2 emissions (Condos)
Current average energy efficiency performance of housing | Thermal insulation Performance Grade 4 and Primary Energy Consumption Amount Grade 4 | 3,675 kg (“Case1”) | 2,862 kg (“Case2”)
Flat 35 S ZEH* | “ZEH” standard defined by the “ZEH Roadmap Committee” | Reduction amount from Case1 is ▲2,731 kg | Reduction amount from Case2 is ▲2,130 kg
Flat 35 S (Interest Plan A) energy efficiency | Thermal insulation Performance Grade 5 and Primary Energy Consumption Amount Grade 6 | Reduction amount from Case1 is ▲547 kg | Reduction amount from Case2 is ▲427 kg
Flat 35 S (Interest Plan A) durability and flexibility | Long-term Quality Housing Thermal insulation Performance Grade 5 and Primary Energy Consumption Amount Grade 6 | Reduction amount from Case1 is ▲547 kg | Reduction amount from Case2 is ▲427 kg
Reference: Energy efficiency performance standard and CO2 emissions by types of Flat 35
Environmental Improvement Benefits (as of the end of FY2024) 7,147 tons/year ＝ Estimated CO2 reductions effect by Green Bonds issued in FY2024 (*) (*) Number of loans in proportion to the amount of Green Bond issuance × CO2 emission reduction compared to "Current average energy efficiency performance of housing“
* Zero Emission House refers to a residential building designed to achieve net-zero energy consumption annually by improving energy efficiency and incorporating renewable energy sources.

## Slide 9
9
Flat 35
Green
Non-green
JHF Green MBS
Green Bonds
JHF MBS
Straight bonds
＋
＋
Liability
Asset
Green labeling
Key features
Compliance
and
Second Party Opinion (“SPO”)
MoE Framework compliance?
Yes
ICMA Green Bond Principle compliance?
Yes
SPO from the rating agencies?
Yes
Current disclosure
of Green Bond
Q1 Where is the green related information disclosed?
A1 On issuer Information.
Q2 What kind of information is provided?
A2 Main information is the “Use of proceed issuing Green Bonds”, which is categorized as below.
- Current status of the allocated proceeds
As of March 31, 2005 (i) GB outstanding 1,355.0 billion JPY
(ii) Green loan outstanding 5,921.9 billion JPY
(i) < (ii) indicates safeness from green washing
- Improvement effect to the environment
Page 25 of FY2024 JHF Issuer Information
3. Issuance of JHF Green MBS and Green Bond

## Slide 10
 | Compulsory – Japan Case | Voluntary
Environment impact | Nation wide impact | Impact on individual construction project
 | Large scale energy-efficiency improvement | Small scale energy-efficiency improvement
Fee payable by the owner to receive green certificate | Upfront inspection fee | 
 | No green certificate maintenance fee | Green certificate maintenance fee
Green certificate authenticator and efficacy | Government acknowledged inspection agencies | Certificate specialists
 | No certificate means no construction | No certificate means no green
Achievable sustainability goals | Energy efficiency | 
 | N/A | Water conservation, materials, indoor air quality, site sustainability and others
Implication to affordable housing
Compulsory framework ensures consistency and uniformity across the housing sector, which is critical for achieving national energy efficiency and sustainability goals
Compulsory framework is a bottom up approach that allows the society as a whole to capture the opportunity to live in a better living environment and improve their living conditions
Compulsory framework requires government initiative and cost sharing. Private certification can be costly, as certification is a commercial activity
4. Energy efficiency framework － Compulsory or voluntary

## Slide 11
5. Defining Green and Non-Green Boundaries Using the BESTGER Standard
Requirements
ALL THREE criteria must be fulfilled
1. Comprehensive Evaluation: BESTGER “Silver (50 points or more)”
2. Heating Energy Reduction: Achievement of “Class B (reduction rate of over 10%)” or higher
3. Guarantee of construction accuracy: Submission of technical evidence, including construction photo records obtained through Hidden Works Inspections
Environment
10 points
Water Conservation
18 points
Safety
15 points
Indoor Environment
12 points
Max 100 points
2. Heating Energy Reduction of “Class B (reduction rate of over 10%)” or higher
Energy
Efficiency
35 points
Materials
10 points
3. Submission of technical evidence to ensure construction accuracy
Platinum 80+ points | 1. BESTGER Silver Grade or higher
Gold 65 to 79 points | 
Silver 50 to 64 points | 
Certified 40 to 49 points | 

## Slide 12
Certify engineers who understand BESTGER's evaluation logic
Certify engineers who can perform appropriate insulation and airtightness design and on-site management
Introducing “construction standard manual” with photographs to ensure consistent quality without relying on individual skills
Develop skills to evaluate and refine BESTGER
Increase loan underwriters’ capability to accurately assess the consistency between BESTGER scores and construction photographs
6. Best Practices for Promoting Green Housing Quality in Mongolia
Certification of green architects and construction managers
■Multi-layered human resource development and establishment of a certification program
Checklist-based training for field technicians
Strengthen on-site quality assurance by capacity development
Goal
Further develop BESTGER practitioners
Building Insulation Specialist approval
Professional certification and training framework designed to ensure high standards in building insulation work
Certification is awarded to those completed training and passed exams on insulation theories
Hokkaido Building Technology Association
Model case

## Slide 13
6. Best Practices for Promoting Green Housing Quality in Mongolia
■Establishment of Building Material Testing Center and ensuring safeness and reliability
Develop domestic capability to verify building material performance
Goal
Center focusing on testing, inspection, evaluation, and certification of building materials and construction products
The center provides certification for building materials to ensure they meet Japanese Industrial Standards (JIS), Japanese Agricultural Standards (JAS), and other regulatory requirements, thereby ensuring safety, reliability, and compliance with national standards
Foundation Building Materials Testing Center in Japan
Model case
Introduce Thermal Conductivity Measurement Device (Guarded Hot Plate Method/GHP, etc.) and measure the precise λ value of insulation materials
Introduce Building Component Thermal Performance (U-value) Testing Device and measure the actual heat transfer coefficient of windows and doors
Establish Steady-state and Transient Combined Heat and Moisture Transfer Measurement to evaluate the risk of internal condensation
Establishing an institution as an “independent third-party organization” separate from the government is essential
Establishment of Building Material Testing Center in Mongolia

## Slide 14
6. Best Practices for Promoting Green Housing Quality in Mongolia
■Promotion of domestic materials and standardization
Ensure air tightness and minimize thermal bridges
Goal
Air leakage in Mongolian
block construction is
severe
Use of “continuous airtight layers with wet plaster” is standardized
“Airtight plaster method” using thick interior mortar as the airtight layer and sealing floor and ceiling joints with specialized tape or sealant.
Inside wall airtight sheet installment is difficult
Heat loss from thermal bridge is not properly managed
Adhesive and plastic anchors are used to fix the insulation
“Recessed anchor method” requiring deep anchoring and covering of the anchor heads with caps
Anchors can become the thermal bridge
Proper thermal insulation
of pipe sleeves, window
sash and balconies
Not only fill around penetrating pipes with site-applied spray foam urethane, but also install an “airtight flange” on the interior side to integrate it with the airtight layer
Float window sash from the structure and install insulation, introduce “thermal connectors” to structurally separate the balcony edges

## Slide 15
Enable financial institutions access green finance
Reduces carbon emission, improves indoor air quality. Avoid cellular stress response
Lower utility bills, longer life span of the house
Raise the overall quality of the housing stock
Higher energy efficiency or environmental standards will increase the housing quality
Preferential interest rate lowers cost of funding
7. Ensuring Housing Quality Through Financial Instruments
■Offering preferential interest rate on green housing loan will promote building of quality housings
Financial
incentive
Long-term cost savings
Environmental benefit
Policy alignment Access to funding
Higher standard
adaptation
Market transformation
Expected outcomes of preferential interest rate applied green housing loan